## OPPC Data
Notification reference | Status | First observation time | Organisation involved | Installation | Field | Latitude (Deg) | Latitude (Min) | Latitude (Sec) | Hemisphere (North / South) | Longitude (Deg) | Longitude (Min) | Longitude (Sec) | Hemisphere (East / West) | Quadrant | Block | OPPC Regulations breached | Relates to an OPPC permit breach | Permit conditions breached | Total quantity of oil discharged (Tonnes) | Relates to discharge limits in Table 1 | Table 1 non-compliance reasons | Relates to other discharges in Table 1 | Other discharges in Table 1 non-compliance reasons | Relates to Table 2 | Table 2 non-compliance reasons | Relates to a discharge greater than 1 tonne over 12 Hrs | Non-compliance ever ongoing | Wind direction (Deg) | Wind speed (Knots) | Significant wave height (Metres) | Formal investigation ever opened
IRS/2025/6329/OPPC | Completed | 16 June 2025 21:00 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.0015 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6332/OPPC | In review | 20 June 2025 07:32 | PREMIER OIL UK LIMITED | Solan Subsea Storage Tank | SOLAN | 60 | 3 | 43.92 | North | 3 | 58 | 9.77 | West | 205 | 26 | [15 empty] | No
IRS/2025/5595/OPPC | Completed | 31 December 2024 00:00 | DANA PETROLEUM (E&P) LIMITED | Triton FPSO | GUILLEMOT WEST | 57 | 5 | 2.1 | North | 0 | 53 | 32.8 | East | 21 | 30 |  | Yes | Exceeded monthly average 30mg/l | 0.1325 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5596/OPPC | In review | 01 January 2025 00:00 | ANASURIA OPERATING COMPANY LIMITED | Anasuria FPSO | TEAL | 57 | 15 | 23 | North | 0 | 48 | 29 | East | 21 | 25 | [15 empty] | No
IRS/2025/5597/OPPC | Completed | 31 January 2024 16:15 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0703 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5598/OPPC | Completed | 01 January 2025 12:00 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4.1 | 0.2633 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5600/OPPC | Completed | 01 January 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0045 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5601/OPPC | Completed | 02 January 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0482 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5602/OPPC | Completed | 03 January 2025 12:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 1.772 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5603/OPPC | Completed | 01 January 2025 00:01 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 3.8075 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5605/OPPC | Completed | 03 January 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0049 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5616/OPPC | In review | 01 January 2025 00:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | STRATHSPEY | 60 | 51 | 34.4 | North | 1 | 28 | 9.6 | East | 3 | 3 | [15 empty] | No
IRS/2025/5622/OPPC | Completed | 05 January 2025 20:40 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge of Produced Water overboard with concentration greater than 100mg/l | 0.0016 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5624/OPPC | Completed | 06 January 2025 12:20 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1. | 0.0003 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5625/OPPC | Completed | 06 January 2025 11:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.1144 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5626/OPPC | Completed | 06 January 2025 11:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.0177 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5627/OPPC | Completed | 06 January 2025 12:14 | PERENCO UK LIMITED | Inde AC Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 19 | 25.12 | North | 2 | 34 | 29.68 | East | 49 | 23 |  | Yes | 4.3. Sampling and quantification of the discharge(s) in Table 1 shall be carried out by the Operator in accordance with the requirements for monitoring specified in Table 2. |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/5628/OPPC | Completed | 06 January 2025 15:53 | PERENCO UK LIMITED | Hyde Platform | HYDE | 53 | 48 | 26.53 | North | 1 | 1 | 43.3 | East | 48 | 6 |  | Yes | 4.3 - Sampling and quantification of the discharge(s) in Table 1 shall be carried out by the Permit Holder in accordance with the requirements for monitoring specified in Table 2. |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/5629/OPPC | In review | 06 January 2025 12:14 | PERENCO UK LIMITED | Inde AC Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 19 | 25.12 | North | 2 | 34 | 29.68 | East | 49 | 23 | [12 empty] | 256 | 20 | 1.8 | No
IRS/2025/5630/OPPC | Completed | 07 January 2025 03:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0033 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5639/OPPC | Completed | 07 January 2025 12:00 | DANA PETROLEUM (E&P) LIMITED | Triton FPSO | GUILLEMOT WEST | 57 | 5 | 2.1 | North | 0 | 53 | 32.8 | East | 21 | 30 |  | Yes | Failure to collect H2 biannual PW samples |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/5653/OPPC | In review | 13 January 2025 07:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [12 empty] | 208 | 38 | 5 | No
IRS/2025/5656/OPPC | In review | 13 January 2025 06:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [15 empty] | No
IRS/2025/5658/OPPC | Completed | 13 January 2025 15:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0003 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5660/OPPC | Completed | 14 January 2025 05:00 | CHRYSAOR LIMITED | Lomond Platform | LOMOND | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.4046 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5662/OPPC | Completed | 15 January 2025 19:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0827 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5666/OPPC | Completed | 18 January 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.1429 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5670/OPPC | In review | 17 January 2025 12:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [15 empty] | No
IRS/2025/5672/OPPC | Completed | 18 January 2025 16:30 | EQUINOR UK LIMITED | Mariner PDQ Platform | MARINER | 59 | 35 | 18.315 | North | 1 | 3 | 17.314 | East | 9 | 11 |  | Yes | Condition 4.1: No discharge(s) specified in Table 1 shall exceed the limit(s) for the parameters specified in that Table. |  | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5673/OPPC | Completed | 19 January 2025 21:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0052 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5682/OPPC | In review | 22 January 2025 07:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [12 empty] | 43 | 2 | 2 | No
IRS/2025/5686/OPPC | Completed | 22 January 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0802 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5688/OPPC | In review | 22 January 2025 06:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 34.4 | North | 1 | 28 | 9.6 | East | 3 | 3 | [15 empty] | No
IRS/2025/5697/OPPC | Completed | 23 January 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0059 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5698/OPPC | Completed | 24 January 2025 11:30 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0048 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5701/OPPC | Completed | 25 January 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0136 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5708/OPPC | Completed | 25 January 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.2486 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5712/OPPC | Completed | 26 January 2025 16:50 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.011 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5722/OPPC | Completed | 28 January 2025 07:45 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | .4.1 | 0.0034 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5726/OPPC | In review | 30 January 2025 08:00 | REPSOL RESOURCES UK LIMITED | Claymore A Platform | CLAYMORE | 58 | 26 | 58 | North | 0 | 15 | 13 | West | 14 | 19 | [15 empty] | No
IRS/2025/5732/OPPC | Completed | 29 January 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.3402 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5734/OPPC | Completed | 01 February 2025 01:00 | SHELL U.K. LIMITED | Nelson Platform | NELSON | 57 | 39 | 44 | North | 1 | 8 | 39 | East | 22 | 11 |  | Yes | Permit condition 4) Discharge condition: 4.1 No discharge(s) specified in table 1 shall exceed the limits for the parameters specified in that table. Table 1: monthly average (mg/L) | 0.0698 | Yes | Average concentration for the operation | No |  | No |  |  | No |  |  |  | No
IRS/2025/5743/OPPC | Completed | 03 February 2025 09:30 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.5452 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5746/OPPC | Completed | 01 February 2025 00:00 | EQUINOR UK LIMITED | Mariner PDQ Platform | MARINER | 59 | 35 | 18.315 | North | 1 | 3 | 17.314 | East | 9 | 11 |  | Yes | 4.1 No discharge(s) specified in Table 1 shall exceed the limit(s) for the parameters specified in that Table. |  | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5747/OPPC | Completed | 31 January 2025 23:59 | SHELL U.K. LIMITED | Gannet A Platform | GANNET A | 57 | 11 | 3.752 | North | 0 | 59 | 54.329 | East | 21 | 25 |  | Yes | The monthly average concentration limit exceeded for January 2025. | 1.7196 | Yes | Monthly average concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5754/OPPC | Completed | 05 February 2025 15:55 | CHRYSAOR (U.K.) BRITANNIA LIMITED | Britannia Platform | BRITANNIA | 58 | 2 | 55.13 | North | 1 | 8 | 19.54 | East | 16 | 26 |  | Yes | Discharge conditions 4.1 | 0.0001 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5755/OPPC | Completed | 03 February 2025 09:00 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.3821 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5756/OPPC | Completed | 06 February 2025 00:00 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.0203 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5758/OPPC | Completed | 02 February 2025 13:28 | APACHE NORTH SEA LIMITED | Forties FA Platform | FORTIES | 57 | 43 | 55.01 | North | 0 | 58 | 21.79 | East | 21 | 10 |  | Yes | Condition 4 - Discharge Conditions |  | No |  | Yes | Discharge height(s) | No |  |  | Yes | 189 | 25 | 2.5 | No
IRS/2025/5759/OPPC | Completed | 07 February 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.2771 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5760/OPPC | Completed | 07 February 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.0174 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5772/OPPC | Completed | 09 February 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0029 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5773/OPPC | Completed | 09 February 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0017 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5774/OPPC | Completed | 10 February 2025 11:45 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1. | 0.0021 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5779/OPPC | Completed | 11 February 2025 09:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0014 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5786/OPPC | Completed | 11 February 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0102 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5787/OPPC | Completed | 12 February 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0195 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5788/OPPC | Completed | 12 February 2025 08:00 | CHRYSAOR LIMITED | Lomond Platform | LOMOND | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.1411 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5789/OPPC | Completed | 13 February 2025 20:01 | CENTRICA ENERGY STORAGE LIMITED | Rough BD Platform | ROUGH | 53 | 50 | 4.4 | North | 0 | 26 | 34.8 | East | 47 | 3 |  | Yes | Condition 4.1 | 0.0257 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5791/OPPC | Completed | 12 February 2025 20:00 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | MARIA | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 |  | Yes | 4.1 | 0.0008 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5794/OPPC | Completed | 14 February 2025 22:30 | CENTRICA ENERGY STORAGE LIMITED | Rough BD Platform | ROUGH | 53 | 50 | 4.4 | North | 0 | 26 | 34.8 | East | 47 | 3 |  | Yes | Condition 4.1 | 0.08 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5797/OPPC | Completed | 13 February 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0677 | Yes | Maximum concentration | No |  | No |  |  | Yes | 90 | 25 | 2.5 | No
IRS/2025/5803/OPPC | In review | 15 February 2025 19:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [12 empty] | 90 | 20 | 2.3 | No
IRS/2025/5804/OPPC | Completed | 15 February 2025 19:14 | CENTRICA ENERGY STORAGE LIMITED | Rough BD Platform | ROUGH | 53 | 50 | 4.4 | North | 0 | 26 | 34.8 | East | 47 | 3 |  | Yes | Condition 4.1 | 0.0281 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5815/OPPC | Completed | 15 February 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.3688 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5817/OPPC | Completed | 13 February 2025 19:15 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.008 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5821/OPPC | In review | 15 February 2025 16:30 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [15 empty] | No
IRS/2025/5824/OPPC | Completed | 18 February 2024 15:40 | PERENCO UK LIMITED | Haeva | RAVENSPURN N[pt.of RAVENSPURN] | 54 | 4 | 24.3 | North | 0 | 54 | 53.2 | East | 42 | 30 |  | Yes | Discharge conditions - 4.3 |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/5825/OPPC | Completed | 18 February 2025 09:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0284 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5828/OPPC | Completed | 19 February 2025 10:07 | TAQA BRATANI LIMITED | Harding Platform | HARDING | 59 | 16 | 46.24 | North | 1 | 30 | 58.04 | East | 9 | 23 |  | Yes | 4,1 | 0.0167 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5829/OPPC | In review | 19 February 2025 23:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [12 empty] | 170 | 50 | 6.4 | No
IRS/2025/5833/OPPC | In review | 19 February 2025 18:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 24.42 | North | 1 | 28 | 8.73 | East | 3 | 3 | [15 empty] | No
IRS/2025/5837/OPPC | Completed | 19 February 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.296 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5838/OPPC | In review | 21 February 2025 19:30 | SHELL U.K. LIMITED | Shearwater C PUQ Platform | SHEARWATER | 57 | 1 | 53.58 | North | 1 | 57 | 19.22 | East | 22 | 30 | [15 empty] | No
IRS/2025/5850/OPPC | Completed | 22 February 2025 12:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0071 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5854/OPPC | Completed | 25 February 2025 00:01 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0062 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5855/OPPC | Completed | 25 February 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0041 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5859/OPPC | Completed | 28 February 2025 09:10 | PERENCO UK LIMITED | Malory Platform | MALORY | 53 | 32 | 37.97 | North | 1 | 14 | 39.58 | East | 48 | 12 |  | Yes | 4. Discharge conditions - 4.3 |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/5860/OPPC | In review | 27 February 2025 14:30 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 | [15 empty] | No
IRS/2025/5862/OPPC | Completed | 28 February 2025 10:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 Discharge Conditions | 2.0406 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5866/OPPC | Completed | 28 February 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0007 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5868/OPPC | Completed | 28 February 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0119 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5873/OPPC | Completed | 03 March 2025 07:30 | CENTRICA ENERGY STORAGE LIMITED | Rough BD Platform | ROUGH | 53 | 50 | 4.4 | North | 0 | 26 | 34.8 | East | 47 | 3 |  | Yes | Breach of monthly average OiW concentration | 0.0023 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5874/OPPC | Completed | 01 March 2025 00:00 | TAQA BRATANI LIMITED | Harding Platform | HARDING | 59 | 16 | 46.24 | North | 1 | 30 | 58.04 | East | 9 | 23 |  | Yes | 4.1 | 0.0222 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5875/OPPC | In review | 28 February 2025 23:59 | SHELL U.K. LIMITED | Gannet A Platform | GANNET A | 57 | 11 | 3.752 | North | 0 | 59 | 54.329 | East | 21 | 25 | [15 empty] | No
IRS/2025/5878/OPPC | Completed | 01 March 2025 07:30 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.4896 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5885/OPPC | Completed | 03 March 2025 09:30 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.1422 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5886/OPPC | Completed | 03 March 2025 11:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.8281 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5887/OPPC | Completed | 02 March 2025 22:30 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0116 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5891/OPPC | Completed | 03 March 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.0174 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5892/OPPC | Completed | 03 March 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 1.1751 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5894/OPPC | Completed | 01 March 2025 00:01 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 2.1169 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5896/OPPC | In review | 01 March 2025 00:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | STRATHSPEY | 60 | 51 | 34.4 | North | 1 | 28 | 9.6 | East | 3 | 3 | [15 empty] | No
IRS/2025/5897/OPPC | Completed | 04 March 2025 09:00 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.2795 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5904/OPPC | Completed | 06 March 2025 07:40 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.002 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5905/OPPC | In review | 05 March 2025 12:12 | BW OFFSHORE CATCHER (UK) LIMITED | BW Catcher | CATCHER | 56 | 46 | 12.43 | North | 0 | 42 | 46.93 | East | 28 | 9 | [15 empty] | No
IRS/2025/5909/OPPC | Completed | 06 March 2025 16:10 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0161 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5910/OPPC | Completed | 07 March 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.001 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5911/OPPC | Completed | 08 March 2025 07:00 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4 | 0.0665 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5917/OPPC | Completed | 08 March 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0017 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5919/OPPC | Completed | 08 March 2025 11:45 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.4559 | Yes | Maximum concentration | No |  | No |  |  | Yes | 359 | 33 | 3.4 | No
IRS/2025/5923/OPPC | Completed | 10 March 2025 09:50 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1. | 0.1262 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5924/OPPC | Completed | 07 March 2025 18:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0004 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5931/OPPC | In review | 12 March 2025 06:45 | SHELL U.K. LIMITED | Shearwater C PUQ Platform | SHEARWATER | 57 | 1 | 53.58 | North | 1 | 57 | 19.22 | East | 22 | 30 | [15 empty] | No
IRS/2025/5934/OPPC | Completed | 14 March 2025 08:00 | REPSOL RESOURCES UK LIMITED | Montrose A Platform | MONTROSE | 57 | 26 | 52.415 | North | 1 | 24 | 48.319 | East | 22 | 17 |  | Yes | monthly average | 0.1312 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5938/OPPC | Completed | 14 March 2025 04:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0056 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5944/OPPC | Completed | 15 March 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.035 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5949/OPPC | Completed | 16 March 2025 16:30 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4 | 0.3964 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/5952/OPPC | Completed | 18 March 2025 12:45 | SHELL U.K. LIMITED | Leman AD1 Platform [SHELL] | LEMAN [SHELL][pt. of LEMAN] | 53 | 5 | 22 | North | 2 | 7 | 45 | East | 49 | 26 |  | Yes | A OIPW sample above 100mg/l. Sample taken on the 5th March 2025 has a result of 130Mg/l. | 0.0058 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5953/OPPC | Completed | 15 March 2025 03:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0046 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5954/OPPC | Completed | 16 March 2025 19:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.3713 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5956/OPPC | Completed | 19 March 2025 01:15 | TAQA BRATANI LIMITED | Brae A Platform | BRAE-SOUTH [Part of BRAE] | 58 | 41 | 33.5 | North | 1 | 16 | 54.7 | East | 16 | 7 |  | Yes | Limits for parameters from discharge location | 0.0125 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5959/OPPC | Completed | 19 March 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0383 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5967/OPPC | Completed | 22 March 2025 08:15 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0189 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5968/OPPC | Completed | 23 March 2025 08:00 | REPSOL RESOURCES UK LIMITED | Claymore A Platform | CLAYMORE | 58 | 26 | 58 | North | 0 | 15 | 13 | West | 14 | 19 |  | Yes | 4.1 | 0.0693 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5976/OPPC | Completed | 25 March 2025 15:25 | PERENCO UK LIMITED | Leman BD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 7.476 | North | 2 | 17 | 10.818 | East | 49 | 27 |  | Yes | 4. Discharge Conditions 4.1 No discharge(s) specified in Table 1 shall exceed the limit(s) for the parameters specified in that Table. |  | Yes | Average concentration for the operation | No |  | No |  |  | No |  |  |  | No
IRS/2025/5981/OPPC | Completed | 25 March 2025 08:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0055 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5984/OPPC | Completed | 26 March 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0112 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5985/OPPC | Completed | 26 March 2025 16:15 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.3769 | Yes | Maximum concentration | No |  | No |  |  | Yes | 240 | 30 | 3.7 | No
IRS/2025/5987/OPPC | Completed | 27 March 2025 11:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0109 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5988/OPPC | In review | 27 March 2025 16:30 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | DRAKE | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 | [12 empty] | 210 | 19 | 1.5 | No
IRS/2025/5994/OPPC | Completed | 29 March 2025 12:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0013 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/5995/OPPC | Completed | 29 March 2025 20:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.3543 | Yes | Maximum concentration | No |  | No |  |  | No | 300 | 15 | 2.8 | No
IRS/2025/6002/OPPC | Completed | 28 March 2025 07:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0048 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6005/OPPC | Completed | 30 March 2025 07:20 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1: Sampling and Quantification - Sampling Location |  | No |  | Yes | Sampling location(s) | No |  |  | Yes |  |  |  | No
IRS/2025/6008/OPPC | Completed | 01 April 2025 06:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.1667 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6009/OPPC | Completed | 01 April 2025 06:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 1.2029 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6013/OPPC | Completed | 01 April 2025 00:01 | SHELL U.K. LIMITED | Leman AP Platform [SHELL] | LEMAN [SHELL][pt. of LEMAN] | 53 | 5 | 22 | North | 2 | 7 | 45 | East | 49 | 26 |  | Yes | High monthly OiPW average for the month of March 2025 exceeding the permitted 30 mg/l. | 0.0172 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6015/OPPC | In review | 31 March 2025 23:59 | SHELL U.K. LIMITED | Gannet A Platform | GANNET A | 57 | 11 | 3.752 | North | 0 | 59 | 54.329 | East | 21 | 25 | [15 empty] | No
IRS/2025/6017/OPPC | Completed | 01 April 2025 08:00 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4.1 | 0.9797 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6019/OPPC | Completed | 01 April 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.0332 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6020/OPPC | Completed | 01 April 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 2.8944 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6022/OPPC | Completed | 01 April 2025 07:28 | APACHE BERYL I LIMITED | Beryl B Platform | BERYL | 59 | 36 | 38.35 | North | 1 | 30 | 45.97 | East | 9 | 13 |  | Yes | Condition 4 Discharge Conditions - Monthly average exceedance | 0.0876 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6023/OPPC | Completed | 01 April 2025 09:00 | DANA PETROLEUM (E&P) LIMITED | Triton FPSO | GUILLEMOT WEST | 57 | 5 | 2.1 | North | 0 | 53 | 32.8 | East | 21 | 30 |  | Yes | Monthly Average Concentration. | 0.0024 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6024/OPPC | In review | 01 April 2025 09:00 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 | [15 empty] | No
IRS/2025/6046/OPPC | Completed | 07 April 2025 12:50 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1. | 0.001 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6050/OPPC | In review | 01 April 2025 00:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | STRATHSPEY | 60 | 51 | 34.4 | North | 1 | 28 | 9.6 | East | 3 | 3 | [15 empty] | No
IRS/2025/6054/OPPC | In review | 04 April 2025 15:30 | ITHACA ENERGY (UK) LIMITED | Stella FPF-1 | STELLA | 56 | 46 | 50.78 | North | 2 | 6 | 32.52 | East | 30 | 6 | [15 empty] | No
IRS/2025/6062/OPPC | In review | 12 April 2025 16:00 | SHELL U.K. LIMITED | Shearwater C PUQ Platform | SHEARWATER | 57 | 1 | 53.58 | North | 1 | 57 | 19.22 | East | 22 | 30 | [15 empty] | No
IRS/2025/6067/OPPC | Completed | 12 April 2025 15:35 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4.1 | 0.0004 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6070/OPPC | Completed | 13 April 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | Regulation 4 | 0.5562 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/6072/OPPC | Completed | 14 April 2005 10:40 | PERENCO UK LIMITED | Haeva | RAVENSPURN N[pt.of RAVENSPURN] | 54 | 4 | 24.3 | North | 0 | 54 | 53.2 | East | 42 | 30 |  | Yes | 4.3 |  | No |  | No |  | Yes | Sampling frequency |  | No |  |  |  | No
IRS/2025/6076/OPPC | Completed | 15 April 2025 21:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1, Discharge Location 4 (HSP & WI Pump Min Flow Protection), Maximum Concentration breached. | 0.0068 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6102/OPPC | Completed | 22 April 2025 11:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 |  | Yes | 4. Discharge Conditions | 4.9939 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6104/OPPC | In review | 22 April 2025 09:00 | BP EXPLORATION OPERATING COMPANY LIMITED | Marnock ETAP PDR Platform | MARNOCK [pt. of MARNOCK-SKUA] | 57 | 17 | 42 | North | 1 | 39 | 46 | East | 22 | 24 | [15 empty] | No
IRS/2025/6110/OPPC | Completed | 24 April 2025 07:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0011 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6130/OPPC | Completed | 28 April 2025 06:00 | TAQA BRATANI LIMITED | Brae East Platform | EAST BRAE | 58 | 52 | 34.183 | North | 1 | 31 | 37.421 | East | 16 | 3 |  | Yes | Exceeded maximum concentration of 100mg/l in produced water overboard discharge. | 0.1074 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6138/OPPC | Completed | 29 April 2025 07:30 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 |  | Yes | 4.1 | 0.1557 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6143/OPPC | In review | 01 May 2025 12:15 | BP EXPLORATION OPERATING COMPANY LIMITED, NOBLE DRILLING UK LTD | Ocean GreatWhite | SCHIEHALLION | 60 | 22 | 53 | North | 4 | 5 | 46 | West | 204 | 20 | [12 empty] | 250 | 40 | 4 | No
IRS/2025/6144/OPPC | In review | 01 May 2025 01:00 | SHELL U.K. LIMITED | Nelson Platform | NELSON | 57 | 39 | 44 | North | 1 | 8 | 39 | East | 22 | 11 | [15 empty] | No
IRS/2025/6145/OPPC | Completed | 01 April 2025 08:00 | TAQA BRATANI LIMITED | Brae East Platform | EAST BRAE | 58 | 52 | 34.183 | North | 1 | 31 | 37.421 | East | 16 | 3 |  | Yes | Monthly average concentration exceeded 30mg/l permitted limit as stated in Table 1 for produced water. | 0.1181 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6146/OPPC | In review | 01 May 2025 00:01 | SHELL U.K. LIMITED | Gannet A Platform | GANNET A | 57 | 11 | 3.752 | North | 0 | 59 | 54.329 | East | 21 | 25 | [15 empty] | No
IRS/2025/6149/OPPC | Completed | 01 May 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 4.2819 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6150/OPPC | Completed | 01 May 2025 12:00 | BUMI ARMADA UK LIMITED | Kraken FPSO | KRAKEN | 59 | 55 | 31.635 | North | 1 | 17 | 34.315 | East | 9 | 2 |  | Yes | Table 1. Monthly Average mg/L | 0.0329 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6152/OPPC | Completed | 02 May 2025 09:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.8642 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6153/OPPC | Completed | 02 May 2025 15:00 | APACHE NORTH SEA LIMITED | Forties A Satellite Platform | FORTIES | 57 | 43 | 55.01 | North | 0 | 58 | 21.79 | East | 21 | 10 |  | Yes | Condition 4 - Exceedance of FASP monthly 30mg/l | 0.6171 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6163/OPPC | In review | 01 May 2025 09:00 | CHRYSAOR LIMITED | Lomond Platform | ERSKINE | 57 | 17 | 15.15 | North | 2 | 10 | 41.51 | East | 23 | 21 | [15 empty] | No
IRS/2025/6165/OPPC | Completed | 03 May 2025 21:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0034 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6168/OPPC | Completed | 05 May 2025 13:55 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1. | 0.0001 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6179/OPPC | Completed | 08 May 2025 15:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0032 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6180/OPPC | In review | 09 May 2025 04:00 | BP EXPLORATION OPERATING COMPANY LIMITED | Marnock ETAP PDR Platform | MARNOCK [pt. of MARNOCK-SKUA] | 57 | 17 | 42 | North | 1 | 39 | 46 | East | 22 | 24 | [15 empty] | No
IRS/2025/6194/OPPC | Completed | 12 May 2025 09:00 | BP EXPLORATION OPERATING COMPANY LIMITED | Clair Phase 1 Platform | CLAIR | 60 | 41 | 30 | North | 2 | 32 | 40 | West | 206 | 8 |  | Yes | Condition 4.1 of OLP/70/25 | 0.0006 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6196/OPPC | In review | 12 May 2025 06:40 | REPSOL RESOURCES UK LIMITED | Montrose BLP | MONTROSE | 57 | 26 | 52.415 | North | 1 | 24 | 48.319 | East | 22 | 17 | [15 empty] | No
IRS/2025/6198/OPPC | Completed | 09 May 2025 11:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0154 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6200/OPPC | In review | 01 May 2025 19:00 | REPSOL RESOURCES UK LIMITED | Montrose A Platform | MONTROSE | 57 | 26 | 52.415 | North | 1 | 24 | 48.319 | East | 22 | 17 | [15 empty] | No
IRS/2025/6202/OPPC | Completed | 12 May 2025 13:15 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 |  | Yes | 4.1 | 0.012 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6207/OPPC | In review | 30 April 2025 11:35 | PERENCO UK LIMITED | Leman BD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 7.476 | North | 2 | 17 | 10.818 | East | 49 | 27 | [15 empty] | No
IRS/2025/6208/OPPC | In review | 30 April 2025 11:35 | PERENCO UK LIMITED | Inde AC Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 19 | 25.12 | North | 2 | 34 | 29.68 | East | 49 | 23 | [15 empty] | No
IRS/2025/6210/OPPC | In review | 14 May 2025 16:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 | [15 empty] | No
IRS/2025/6230/OPPC | Completed | 21 May 2025 08:00 | APACHE BERYL I LIMITED | Beryl A Platform | BERYL | 59 | 32 | 44.47 | North | 1 | 32 | 16.45 | East | 9 | 13 |  | Yes | Condition 4 | 0.0005 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6243/OPPC | Completed | 23 May 2025 15:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.0172 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6247/OPPC | Completed | 29 April 2025 11:00 | PERENCO UK LIMITED | Leman BD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 7.476 | North | 2 | 17 | 10.818 | East | 49 | 27 |  | Yes | The breach is related to condition 4.2.(d) - 4.2 The discharge(s) from the source(s) specified in Table 1, shall only be permitted: (d) having been quantified at the flow metering location(s); |  | No |  | No |  | Yes | Another monitoring parameter |  | Yes |  |  |  | No
IRS/2025/6249/OPPC | In review | 26 May 2025 13:25 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 | [12 empty] | 240 | 20 | 3 | No
IRS/2025/6250/OPPC | In review | 28 May 2025 08:00 | PERENCO UK LIMITED | Inde AC Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 19 | 25.12 | North | 2 | 34 | 29.68 | East | 49 | 23 | [12 empty] | 295 | 11 | 0.5 | No
IRS/2025/6255/OPPC | Completed | 30 May 2025 03:15 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | DRAKE | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 |  | Yes | 4.1 | 0.0001 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6261/OPPC | Completed | 31 May 2025 11:30 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4.1 | 0.0776 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/6263/OPPC | In review | 01 June 2025 02:55 | REPSOL RESOURCES UK LIMITED | Claymore A Platform | CLAYMORE | 58 | 26 | 58 | North | 0 | 15 | 13 | West | 14 | 19 | [15 empty] | No
IRS/2025/6264/OPPC | In review | 31 May 2025 11:05 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 | [15 empty] | No
IRS/2025/6266/OPPC | Completed | 30 May 2025 15:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1 | 0.0111 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6267/OPPC | Completed | 02 June 2025 09:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 0.1131 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6268/OPPC | Completed | 02 June 2025 09:00 | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48.3 | North | 2 | 20 | 13.35 | East | 30 | 7 |  | Yes | Section 4.1. | 1.1752 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6269/OPPC | In review | 01 June 2025 00:01 | SHELL U.K. LIMITED | Gannet A Platform | GANNET A | 57 | 11 | 3.752 | North | 0 | 59 | 54.329 | East | 21 | 25 | [15 empty] | No
IRS/2025/6270/OPPC | In review | 01 June 2025 00:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 | [15 empty] | No
IRS/2025/6271/OPPC | In review | 01 June 2025 00:00 | ANASURIA OPERATING COMPANY LIMITED | Anasuria FPSO | TEAL | 57 | 15 | 23 | North | 0 | 48 | 29 | East | 21 | 25 | [15 empty] | No
IRS/2025/6272/OPPC | Completed | 01 June 2025 00:00 | TAQA BRATANI LIMITED | Brae East Platform | EAST BRAE | 58 | 52 | 34.183 | North | 1 | 31 | 37.421 | East | 16 | 3 |  | Yes | Monthly average concentration >30mg/l for month of May | 0.0739 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6277/OPPC | Completed | 02 June 2025 09:00 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 |  | Yes | 4.1 | 0.0059 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6278/OPPC | In review | 29 May 2025 08:30 | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 AP Platform | HEWETT | 53 | 1 | 3 | North | 1 | 47 | 45 | East | 48 | 29 | [15 empty] | No
IRS/2025/6279/OPPC | Completed | 01 June 2025 12:00 | PETROFAC FACILITIES MANAGEMENT LIMITED | Kittiwake A Platform | KITTIWAKE | 57 | 28 | 6 | North | 0 | 31 | 43 | East | 21 | 18 |  | Yes | 4.1 | 1.5582 | Yes | Monthly average concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6283/OPPC | In review | 09 May 2025 09:00 | APACHE NORTH SEA LIMITED | Forties FC Platform | FORTIES | 57 | 43 | 37.03 | North | 0 | 54 | 50.74 | East | 21 | 10 | [15 empty] | No
IRS/2025/6284/OPPC | In review | 22 May 2025 18:00 | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Central Platform | NINIAN | 60 | 51 | 34.4 | North | 1 | 28 | 9.6 | East | 3 | 3 | [15 empty] | No
IRS/2025/6299/OPPC | In review | 09 June 2025 16:30 | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | North | 1 | 50 | 42.26 | East | 22 | 5 | [12 empty] | 218 | 14 | 1 | Yes
IRS/2025/6301/OPPC | Completed | 31 May 2025 11:00 | TOTALENERGIES E&P UK LIMITED | Alwyn North NAB Platform | ALWYN NORTH | 60 | 48 | 36 | North | 1 | 44 | 7 | East | 3 | 9 |  | Yes | Discharge condition 4.1 | 0.0291 | Yes | Maximum concentration | No |  | No |  |  | No |  |  |  | No
IRS/2025/6303/OPPC | In review | 10 June 2025 11:30 | APACHE NORTH SEA LIMITED | Forties A Satellite Platform | FORTIES | 57 | 43 | 55.01 | North | 0 | 58 | 21.79 | East | 21 | 10 | [15 empty] | No
IRS/2025/6308/OPPC | Completed | 12 June 2025 12:40 | TOTALENERGIES E&P NORTH SEA UK LIMITED | Gryphon A | GRYPHON | 59 | 21 | 4.1 | North | 1 | 33 | 9.95 | East | 9 | 18 |  | Yes | Condition 4.1 | 0.057 | Yes | Maximum concentration | No |  | No |  |  | Yes |  |  |  | No
IRS/2025/6312/OPPC | In review | 12 June 2025 15:00 | APACHE NORTH SEA LIMITED | Forties A Satellite Platform | FORTIES | 57 | 43 | 55.01 | North | 0 | 58 | 21.79 | East | 21 | 10 | [15 empty] | No
IRS/2025/6320/OPPC | In review | 16 June 2025 10:00 | ENQUEST HEATHER LIMITED | Magnus Platform | MAGNUS | 61 | 37 | 12.45 | North | 1 | 18 | 25.96 | East | 211 | 12 | [15 empty] | No