## PON10 Data
Notification reference | Status | Organisation involved | Installation | Field | Latitude (Deg) | Latitude (Min) | Latitude (Sec) | Hemisphere (North / South) | Longitude (Deg) | Longitude (Min) | Longitude (Sec) | Hemisphere (East / West) | Quadrant | Block | First observation time | Breach related to | Related to Consent to Locate? | Energy Act part 4A regulations breached | All breached conditions | One or both signals failed | Other fog signals failed | Reduction in range of main fog signals | Reduction in range of secondary fog signals | Lights breached conditions | Loss of primary white lights | Loss of secondary white lights | Main lights not exhibited | Other main lights conditions | Reduction in range of one or more primary white lights | Reduction in range of one or more secondary white lights | Secondary lights not in operation | White main lights not in operation | Loss of one or more subsidiary red lights | Other subsidiary lights conditions | Subsidiary red lights not in operation | Reduction in range of one or more subsidiary red lights | Loss of power | Loss of power date | Loss of power time | Related to Consent to Locate - Close off | Investigation ever opened | Compliant with consent to locate | Close off reasons
IRS/2024/3860/PON10 | Completed | SPIRIT ENERGY NORTH SEA LIMITED | Chiswick Platform | MARKHAM | 53 | 43 | 23.865 | N | 2 | 44 | 49.789 | E | 49 | 4 | 05 January 2024 17:00 |  | No | 82A (1) | [21 empty] | No |  | Yes
IRS/2024/3879/PON10 | Completed | ENI UK LIMITED | Lennox Platform | LENNOX | 53 | 37 | 52 | N | 3 | 10 | 35 | W | 110 | 15 | 09 January 2024 11:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 10. Consent non-compliance, 2. Description of Works, 3. Location of Works, 4. Commencement of Works, 5. During the Works, 6. Cessation of Works, 7. Inspections, 8. Consent review, 9. Consent variation, A 1. General, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/3880/PON10 | Completed | BP EXPLORATION OPERATING COMPANY LIMITED | Andrew Platform | ANDREW | 58 | 2 | 51 | N | 1 | 24 | 15 | E | 16 | 28 | 09 January 2024 18:20 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 2. Description of Works, 3. Location of Works, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/3881/PON10 | Completed | CNOOC PETROLEUM EUROPE LIMITED | Golden Eagle PUQ Platform | GOLDEN EAGLE | 57 | 57 | 38 | N | 0 | 54 | 58 | W | 20 | 01 | 10 January 2024 06:32 | Consent Condition and Marking Schedule Condition | Yes |  | 5. Cessation of Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/3882/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Wenlock Platform | WENLOCK | 53 | 35 | 19 | N | 2 | 17 | 42 | E | 49 | 12 | 09 January 2024 07:27 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | Yes |  |  |  | Both main and subsidiary lights |  |  |  | Yes | [5 empty] | Yes |  |  | Yes, primary only | 09 January 2024 | 07:27 | Yes |  | Yes | Primary Power Supply
IRS/2024/3883/PON10 | Completed | PERENCO UK LIMITED | Ravenspurn North ST3 Platform | RAVENSPURN N[pt.of RAVENSPURN] | 54 | 4 | 0 | N | 0 | 55 | 0 | E | 42 | 30 | 10 January 2024 10:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 2. Description of Works, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | Yes | [10 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/3889/PON10 | In review | SHELL U.K. LIMITED | Penguins FPSO | PENGUIN EAST | 61 | 34 | 59 | N | 1 | 31 | 10 | E | 211 | 13 | 09 January 2024 12:16 | Consent Condition excluding Marking Schedule Condition | Yes |  | 1. Consent Validity | [20 empty] | No
IRS/2024/3890/PON10 | Completed | PERENCO UK LIMITED | Pickerill B Platform | PICKERILL | 53 | 31 | 30 | N | 1 | 9 | 38 | E | 48 | 11 | 10 January 2024 10:01 | Consent Condition excluding Marking Schedule Condition | Yes |  | 1. Consent Validity | [17 empty] | No |  |  | Yes |  | Yes | Consent Validity
IRS/2024/3898/PON10 | Completed | PERENCO UK LIMITED | Leman DD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 1 | 1 | N | 2 | 20 | 24 | E | 49 | 27 | 12 January 2024 18:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights |  | Yes | [6 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Secondary Lights, Subsidiary Lights
IRS/2024/3906/PON10 | Completed | PERENCO UK LIMITED | West Sole WC Platform | WEST SOLE | 53 | 45 | 0 | N | 1 | 4 | 0 | E | 48 | 06 | 14 January 2024 14:15 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/3907/PON10 | Completed | ENI UK LIMITED | Hamilton A Platform | HAMILTON | 53 | 33 | 57 | N | 3 | 27 | 16 | W | 110 | 13 | 15 January 2024 16:50 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/3915/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Babbage Platform | BABBAGE | 53 | 57 | 49 | N | 1 | 13 | 14 | E | 48 | 02 | 16 January 2024 10:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 1. Consent Validity | [17 empty] | No |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/3916/PON10 | Completed | PETRODEC UK LIMITED | Leman 27 Juliet Installation | LEMAN SOUTH | 53 | 1 | 57 | N | 2 | 13 | 9 | E | 49 | 27 | 17 January 2024 10:20 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/3924/PON10 | Completed | TAQA BRATANI LIMITED | Cormorant A Platform | SOUTH CORMORANT | 61 | 6 | 9 | N | 1 | 4 | 22 | W | 211 | 26 | 16 January 2024 14:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 5. ID Panel | [17 empty] | No |  |  | Yes |  | Yes | Identification Panels
IRS/2024/3928/PON10 | In review | SHELL U.K. LIMITED | Leman D Platform [SHELL] | LEMAN [SHELL][pt. of LEMAN] | 53 | 0 | 31 | N | 2 | 11 | 3 | E | 49 | 26 | 18 January 2024 18:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs | [20 empty] | No
IRS/2024/3929/PON10 | Completed | CHRYSAOR PETROLEUM COMPANY U.K. LIMITED | Judy Platform | JUDY | 56 | 41 | 48 | N | 2 | 20 | 13 | E | 30 | 07 | 18 January 2024 19:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights | [10 empty] | Yes |  | No |  |  | Yes |  | Yes | synchronisation
IRS/2024/3933/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Montrose A Platform | MONTROSE | 57 | 26 | 59.46 | N | 1 | 23 | 12.5 | E | 22 | 17 | 20 January 2024 17:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [17 empty] | No |  |  | Yes |  | Yes | Radio and Radar Beacons
IRS/2024/3945/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 C Platform | HEWETT | 53 | 5 | 52 | N | 1 | 45 | 57 | E | 48 | 29 | 22 January 2024 07:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Fog Signals, Main Lights, Operations during the Works, Primary Power Supply, Secondary Lights, Secondary Power Supply, Subsidiary Lights
IRS/2024/3947/PON10 | Completed | APACHE NORTH SEA LIMITED | Forties FE Platform | FORTIES | 57 | 42 | 58 | N | 1 | 1 | 56 | E | 22 | 06 | 22 January 2024 07:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 5. ID Panel | [17 empty] | No |  |  | Yes |  | Yes | Identification Panels
IRS/2024/3958/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Morecambe South DP8 Platform | SOUTH MORECAMBE | 53 | 53 | 33 | N | 3 | 37 | 27 | W | 110 | 02 | 23 January 2024 04:55 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | Yes |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 23 January 2024 | 04:55 | Yes |  | Yes | Primary Power Supply
IRS/2024/3972/PON10 | Completed | TOTALENERGIES E&P UK LIMITED | Elgin PUQ Platform | ELGIN | 57 | 0 | 7 | N | 1 | 50 | 3 | E | 22 | 30 | 25 January 2024 19:00 |  | No | [22 empty] | Yes |  | Yes | Subsidiary Lights
IRS/2024/3976/PON10 | In review | SHELL U.K. LIMITED | Valaris 121 | SHEARWATER | 57 | 1 | 49 | N | 1 | 57 | 12 | E | 22 | 30 | 26 January 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/3985/PON10 | Completed | PERENCO UK LIMITED | Leman 27H | LEMAN [PERENCO][pt. of LEMAN] | 53 | 0 | 17 | N | 2 | 12 | 54 | E | 49 | 27 | 29 January 2024 16:34 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/3988/PON10 | Completed | PERENCO UK LIMITED | 27E | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 26 | N | 2 | 18 | 53 | E | 49 | 27 | 30 January 2024 14:39 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4005/PON10 | Completed | SHELL U.K. LIMITED | Valaris 122 | JACKDAW | 56 | 54 | 1 | N | 2 | 22 | 45 | E | 30 | 02 | 02 February 2024 08:00 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 5. ID Panel | [17 empty] | No |  |  | Yes |  | Yes | Identification Panels, Subsidiary Lights
IRS/2024/4011/PON10 | Completed | SHELL U.K. LIMITED | Cutter QC Platform | CUTTER | 53 | 41 | 41 | N | 2 | 37 | 20 | E | 49 | 09 | 03 February 2024 05:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 1. Consent Validity, 2. Description of Works | [17 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4015/PON10 | Completed | SPIRIT ENERGY NEDERLAND B.V. | Grove Wellhead Platform | MARKHAM | 53 | 43 | 0 | N | 2 | 51 | 18 | E | 49 | 10 | 04 February 2024 15:00 |  | No | [22 empty] | Yes |  | Yes | Subsidiary Lights
IRS/2024/4021/PON10 | Completed | PERENCO UK LIMITED | 27G | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 14 | N | 2 | 22 | 53 | E | 49 | 27 | 06 February 2024 16:30 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4031/PON10 | Completed | PERENCO UK LIMITED | 49/23C | INDEFATIGABLE [PERENCO] | 53 | 18 | 26.712 | N | 2 | 34 | 0.723 | E | 49 | 23 | 09 February 2024 12:00 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 1. General, A 3. Lights |  |  |  |  | Main lights only |  |  |  |  | Yes | [7 empty] | Yes, primary only | 09 February 2024 | 12:00 | Yes |  | Yes | Primary Power Supply
IRS/2024/4034/PON10 | Completed | PERENCO UK LIMITED | Inde AC Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 19 | 25 | N | 2 | 34 | 29 | E | 49 | 23 | 10 February 2024 10:51 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 10 February 2024 | 10:51 | Yes |  | Yes | Main Lights
IRS/2024/4040/PON10 | Completed | TAQA BRATANI LIMITED | Cormorant A Platform | SOUTH CORMORANT | 61 | 6 | 9 | N | 1 | 4 | 22 | W | 211 | 26 | 10 February 2024 23:32 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [17 empty] | No |  |  | Yes |  | Yes | Subsidiary Lights
IRS/2024/4044/PON10 | Completed | PETRODEC UK LIMITED | Leman 27J | LEMAN [PERENCO][pt. of LEMAN] | 53 | 1 | 57 | N | 2 | 13 | 9 | E | 49 | 27 | 09 February 2024 00:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | Yes |  |  |  | Both main and subsidiary lights | Yes | Yes | [6 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4046/PON10 | Completed | PERENCO UK LIMITED | Minerva | CLEETON | 53 | 57 | 0 | N | 0 | 35 | 0 | E | 47 | 3 | 12 February 2024 18:45 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes |  |  |  | Yes | [7 empty] | Yes, primary only | 12 February 2024 | 18:45 | Yes |  | Yes | Primary Power Supply
IRS/2024/4051/PON10 | Completed | SHELL U.K. LIMITED | Shearwater C PUQ Platform | SHEARWATER | 57 | 1 | 49 | N | 1 | 57 | 12 | E | 22 | 30 | 13 February 2024 03:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Subsidiary Lights
IRS/2024/4058/PON10 | Completed | BP EXPLORATION OPERATING COMPANY LIMITED | Mungo NUI Platform | MUNGO | 57 | 22 | 31 | N | 1 | 59 | 53 | E | 22 | 20 | 13 February 2024 14:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | No |  |  | Yes |  | Yes | Secondary Power Supply
IRS/2024/4064/PON10 | Completed | SHELL U.K. LIMITED | Barque PB Platform | BARQUE | 53 | 36 | 47 | N | 1 | 31 | 35 | E | 48 | 13 | 16 February 2024 04:00 | Consent Condition and Marking Schedule Condition | Yes |  | 6. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights | Yes | Yes | [6 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Main Lights, Secondary Lights
IRS/2024/4066/PON10 | Completed | PERENCO UK LIMITED | 49/23D | INDEFATIGABLE [PERENCO] | 53 | 18 | 8 | N | 2 | 30 | 0 | E | 49 | 23 | 16 February 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, 9. Consent variation, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 16 February 2024 | 15:00 | Yes |  | Yes | Main Lights
IRS/2024/4067/PON10 | In review | BP EXPLORATION OPERATING COMPANY LIMITED | Ocean GreatWhite | SCHIEHALLION | 60 | 22 | 53 | N | 4 | 5 | 46 | E | 204 | 20 | 12 February 2024 21:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 3. Location of Works | [20 empty] | No
IRS/2024/4070/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Arbroath Platform | ARBROATH | 57 | 22 | 29 | N | 1 | 22 | 59 | E | 22 | 17 | 17 February 2024 10:20 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights |  |  | Yes |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Fog Signals, Subsidiary Lights
IRS/2024/4083/PON10 | Completed | TOTALENERGIES E&P UK LIMITED | Dunbar Platform | DUNBAR | 60 | 37 | 45 | N | 1 | 39 | 9 | E | 3 | 14 | 17 February 2024 09:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. Cessation of Works, A 4. Fogs |  |  | Yes | [14 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4094/PON10 | Completed | ENI ENERGY E&P UK LIMITED | Cygnus B Platform | CYGNUS | 54 | 35 | 59 | N | 2 | 11 | 41 | E | 44 | 11 | 21 February 2024 13:15 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [17 empty] | No |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4110/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Morecambe South DP8 Platform | SOUTH MORECAMBE | 53 | 53 | 33 | N | 3 | 37 | 27 | W | 110 | 02 | 24 February 2024 01:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs | Yes | [16 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4124/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Wenlock Platform | WENLOCK | 53 | 35 | 19 | N | 2 | 17 | 42 | E | 49 | 12 | 27 February 2024 22:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights |  |  | Yes |  | Main lights only | Yes | [11 empty] | Yes, primary only | 27 February 2024 | 22:30 | Yes |  | Yes | Primary Power Supply
IRS/2024/4126/PON10 | Completed | ENI UK LIMITED | Douglas FPF Irish Sea Pioneer | DOUGLAS | 53 | 32 | 13 | N | 3 | 34 | 42 | W | 110 | 13 | 28 February 2024 14:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights | [10 empty] | Yes |  | No |  |  | Yes |  | Yes | In combined ops nav lights were not syncronised
IRS/2024/4141/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Garrow Platform | GARROW | 54 | 16 | 23 | N | 0 | 59 | 46 | E | 42 | 25 | 02 March 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | Yes | [10 empty] | Yes, primary only | 02 March 2024 | 01:00 | Yes |  | Yes | Primary Power Supply
IRS/2024/4161/PON10 | Completed | ENI UK LIMITED | Douglas DW Platform | DOUGLAS | 53 | 32 | 13 | N | 3 | 34 | 42 | W | 110 | 13 | 07 March 2024 01:36 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4169/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Southwark Platform | SOUTHWARK | 53 | 10 | 59.78 | N | 2 | 5 | 48.85 | E | 49 | 26 | 06 March 2024 14:26 |  | No | [22 empty] | Yes |  | Yes | Primary Power Supply
IRS/2024/4212/PON10 | Completed | TOTALENERGIES E&P UK LIMITED | Alwyn North NAA Platform | ALWYN NORTH | 60 | 48 | 36 | N | 1 | 44 | 7 | E | 3 | 09 | 17 March 2024 13:47 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs |  |  | Yes | [14 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4222/PON10 | In review | PERENCO UK LIMITED | Ravenspurn North ST3 Platform | RAVENSPURN N[pt.of RAVENSPURN] | 54 | 4 | 0 | N | 0 | 55 | 0 | E | 42 | 30 | 19 March 2024 12:00 |  | No | [22 empty] | No
IRS/2024/4232/PON10 | Completed | PERENCO UK LIMITED | 27H | LEMAN [PERENCO][pt. of LEMAN] | 53 | 0 | 17 | N | 2 | 12 | 54 | E | 49 | 27 | 21 March 2024 20:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4233/PON10 | Completed | SHELL U.K. LIMITED | Clipper PC Platform | CLIPPER NORTH | 53 | 27 | 33 | N | 1 | 43 | 56 | E | 48 | 19 | 22 March 2024 08:00 | Consent Condition and Marking Schedule Condition | Yes |  | 11. Consent non-compliance, A 3. Lights |  |  |  |  | Subsidiary lights only | [10 empty] | Yes |  | No |  |  | Yes |  | Yes | Identification Panels, Subsidiary Lights
IRS/2024/4249/PON10 | In review | SPIRIT ENERGY NEDERLAND B.V. | Chiswick Platform | CHISWICK | 53 | 56 | 23.8 | N | 2 | 44 | 49.6 | E | 49 | 04 | 23 March 2024 11:30 | Consent Condition excluding Marking Schedule Condition | Yes |  | 5. During the Works | [20 empty] | No
IRS/2024/4250/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Saltire A Platform | SALTIRE | 58 | 25 | 1 | N | 0 | 20 | 3 | E | 15 | 17 | 24 March 2024 00:17 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights | Yes | [7 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Main Lights, Operations during the Works, Subsidiary Lights
IRS/2024/4288/PON10 | Completed | PERENCO UK LIMITED | Leman AC Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 17 | N | 2 | 14 | 6 | E | 49 | 27 | 04 April 2024 14:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 4. Fogs, A 1. General | Yes | [16 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4293/PON10 | Completed | ITHACA ENERGY (UK) LIMITED | Anglia A Platform | ANGLIA | 53 | 22 | 3 | N | 1 | 39 | 6 | E | 48 | 19 | 19 January 2024 03:20 | Consent Condition and Marking Schedule Condition | Yes |  | 5. Cessation of Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Secondary Lights
IRS/2024/4297/PON10 | In review | SHELL U.K. LIMITED | Barque PB Platform | BARQUE | 53 | 36 | 47 | N | 1 | 31 | 35 | E | 48 | 13 | 06 April 2024 13:30 | Consent Condition and Marking Schedule Condition | Yes |  | 6. During the Works, A 4. Fogs | [20 empty] | No
IRS/2024/4301/PON10 | Completed | PERENCO UK LIMITED | Leman ED Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 39 | N | 2 | 12 | 39 | E | 49 | 27 | 07 April 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 1. General, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4323/PON10 | Completed | PERENCO UK LIMITED | Ravenspurn South A Platform | RAVENSPURN | 54 | 1 | 46 | N | 0 | 57 | 59 | E | 42 | 29 | 17 March 2024 20:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only |  |  |  |  | Yes | [7 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4325/PON10 | Completed | INEOS UK SNS LIMITED | Cavendish Platform | CAVENDISH | 54 | 28 | 43 | N | 1 | 44 | 24 | E | 43 | 19 | 11 April 2024 20:00 | Consent Condition and Marking Schedule Condition | Yes |  | 2. Description of Works, 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights |  |  |  | Yes |  |  |  |  | Yes |  |  |  | No |  |  | Yes |  | Yes | Mooring and Buoys
IRS/2024/4336/PON10 | Completed | PERENCO UK LIMITED | Leman H Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 0 | 17 | N | 2 | 12 | 54 | E | 49 | 27 | 14 April 2024 12:34 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 14 April 2024 | 12:30 | Yes |  | Yes | Primary Power Supply
IRS/2024/4339/PON10 | Completed | ENI UK LIMITED | Douglas DW Platform | DOUGLAS | 53 | 32 | 13 | N | 3 | 34 | 42 | W | 110 | 13 | 15 April 2024 08:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4341/PON10 | Completed | PERENCO UK LIMITED | Leman G Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 14 | N | 2 | 22 | 53 | E | 49 | 27 | 15 April 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 15 April 2024 | 09:00 | Yes |  | Yes | Primary Power Supply
IRS/2024/4343/PON10 | Completed | NEO ENERGY PRODUCTION UK LIMITED | Global Producer III | DONAN [MAERSK] | 58 | 21 | 38 | N | 0 | 52 | 4 | E | 15 | 20 | 13 April 2024 03:25 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Subsidiary Lights
IRS/2024/4344/PON10 | Completed | CHRYSAOR PRODUCTION (U.K.) LIMITED | Katy Platform | KATY | 54 | 24 | 10 | N | 2 | 39 | 33 | E | 44 | 19 | 15 April 2024 07:38 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4347/PON10 | Completed | PERENCO UK LIMITED | Hoton Platform | HOTON | 53 | 48 | 0 | N | 1 | 12 | 0 | E | 48 | 07 | 19 January 2024 04:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | No evidence of non-compliance. PON10 submitted following Trinity House inspection observations. Full NavAid functionality was confirmed on 25/03
IRS/2024/4348/PON10 | Completed | PERENCO UK LIMITED | Hyde Platform | HYDE | 53 | 48 | 26 | N | 1 | 1 | 43 | E | 48 | 06 | 20 January 2024 00:10 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs |  |  |  | Yes | [13 empty] | No |  |  | Yes |  | Yes | No evidence of non-compliance but PON10 submitted following Trinity House inspection observations. Full functionality of NavAids were confirmed on 25/03 and 14/04
IRS/2024/4349/PON10 | Completed | PERENCO UK LIMITED | Waveney Platform | WAVENEY | 53 | 21 | 11 | N | 1 | 18 | 15 | E | 48 | 17 | 19 January 2024 04:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4366/PON10 | Completed | ENI UK LIMITED | Hamilton A Platform | HAMILTON | 53 | 33 | 57 | N | 3 | 27 | 16 | W | 110 | 13 | 18 April 2024 21:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4372/PON10 | Completed | PERENCO UK LIMITED | 18B | INDEFATIGABLE [PERENCO] | 53 | 23 | 33 | N | 2 | 31 | 30 | E | 49 | 18 | 21 April 2023 07:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4381/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 C Platform | HEWETT | 53 | 5 | 52 | N | 1 | 45 | 57 | E | 48 | 29 | 23 April 2024 16:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes |  |  | Yes | [8 empty] | No |  |  | Yes |  | Yes | Secondary Power Supply
IRS/2024/4388/PON10 | Completed | PERENCO UK LIMITED | Pickerill A Jacket | PICKERILL | 53 | 31 | 30 | N | 1 | 9 | 38 | E | 48 | 11 | 14 April 2024 08:10 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Mooring and Buoys
IRS/2024/4396/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Piper B Platform | PIPER | 58 | 27 | 40 | N | 0 | 15 | 3 | E | 15 | 17 | 26 April 2024 14:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [17 empty] | No |  |  | Yes |  | Yes | Secondary Lights
IRS/2024/4416/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Saltire A Platform | SALTIRE | 58 | 25 | 1 | N | 0 | 20 | 3 | E | 15 | 17 | 30 April 2024 22:31 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Main Lights, Operations during the Works, Primary Power Supply, Secondary Power Supply, Subsidiary Lights
IRS/2024/4427/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 AP Platform | HEWETT | 53 | 1 | 3 | N | 1 | 47 | 45 | E | 48 | 29 | 01 May 2024 20:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights |  |  |  | Yes | [5 empty] | Yes |  |  | No |  |  | Yes |  | Yes | Main Lights, Operations during the Works, Secondary Lights, Subsidiary Lights
IRS/2024/4431/PON10 | Completed | ITHACA ENERGY (UK) LIMITED | Stella FPF-1 | STELLA | 56 | 46 | 50 | N | 2 | 6 | 32 | E | 30 | 6 | 03 May 2024 07:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4450/PON10 | Completed | ENI UK LIMITED | Lennox Platform | LENNOX | 53 | 37 | 52 | N | 3 | 10 | 35 | W | 110 | 15 | 08 May 2024 21:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4451/PON10 | In review | INEOS UK SNS LIMITED | Clipper South | CLIPPER SOUTH | 53 | 24 | 16 | N | 1 | 47 | 5 | E | 48 | 19 | 09 May 2024 11:30 | Consent Condition and Marking Schedule Condition | Yes |  | 6. During the Works, A 5. ID Panel | [20 empty] | No
IRS/2024/4458/PON10 | Completed | ENI UK LIMITED | Hamilton A Platform | HAMILTON | 53 | 33 | 57 | N | 3 | 27 | 16 | W | 110 | 13 | 10 May 2024 04:43 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 07 May 2024 | 21:30 | Yes |  | Yes | Primary Power Supply
IRS/2024/4464/PON10 | Completed | PERENCO UK LIMITED | Leman ED Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 39 | N | 2 | 12 | 39 | E | 49 | 27 | 12 May 2024 14:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Main Lights
IRS/2024/4469/PON10 | In review | PERENCO UK LIMITED | Ravenspurn North ST2 Platform | RAVENSPURN N[pt.of RAVENSPURN] | 54 | 3 | 17.1 | N | 1 | 2 | 4.1 | E | 43 | 26 | 13 May 2024 10:00 |  | No | [22 empty] | No
IRS/2024/4474/PON10 | Completed | ENI UK LIMITED | Hamilton North Platform | HAMILTON NORTH | 53 | 38 | 46 | N | 3 | 28 | 41 | W | 110 | 13 | 13 May 2024 21:32 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply, Secondary Power Supply
IRS/2024/4497/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Southwark Platform | SOUTHWARK | 53 | 10 | 59.78 | N | 2 | 5 | 48.85 | E | 49 | 26 | 20 May 2024 01:00 |  | No | Main generation offline | [21 empty] | No |  | Yes
IRS/2024/4498/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Morecambe South CPP1 Platform | SOUTH MORECAMBE | 53 | 50 | 44 | N | 3 | 35 | 0 | W | 110 | 03 | 19 May 2024 03:47 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 19 May 2024 | 03:47 | Yes |  | Yes | Main Lights
IRS/2024/4505/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 52/5 A Platform | HEWETT | 52 | 59 | 58 | N | 1 | 50 | 50 | E | 52 | 05 | 22 May 2024 00:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Main Lights, Primary Power Supply
IRS/2024/4512/PON10 | In review | CENTRICA ENERGY STORAGE LIMITED | Rough BD Platform | ROUGH | 53 | 50 | 4 | N | 0 | 26 | 34 | E | 47 | 03 | 23 May 2024 09:30 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [20 empty] | No
IRS/2024/4518/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Garrow Platform | GARROW | 54 | 16 | 23 | N | 0 | 59 | 46 | E | 42 | 25 | 24 May 2024 00:01 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 4. Fogs, A 3. Lights |  | Yes |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 24 May 2024 | 00:01 | Yes |  | Yes | Primary Power Supply
IRS/2024/4536/PON10 | In review | CNR INTERNATIONAL (U.K.) LIMITED | Ninian Southern Platform | NINIAN | 60 | 48 | 20 | N | 1 | 27 | 1 | E | 3 | 08 | 21 May 2024 16:30 | Consent Condition and Marking Schedule Condition | Yes |  | 2. Description of Works, 5. During the Works, A 4. Fogs | [20 empty] | No
IRS/2024/4542/PON10 | Completed | PERENCO UK LIMITED | Leman CD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 1 | 35 | N | 2 | 15 | 24 | E | 49 | 27 | 30 May 2024 16:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Secondary Lights
IRS/2024/4544/PON10 | Completed | ONE-DYAS UK LIMITED | Sean PP Platform | SOUTH SEAN | 53 | 12 | 4 | N | 2 | 51 | 4 | E | 49 | 25 | 31 May 2024 11:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 3. Location of Works | [17 empty] | No |  |  | Yes |  | Yes | Mooring and Buoys
IRS/2024/4561/PON10 | Completed | ODE ASSET MANAGEMENT LIMITED | Southwark Platform | SOUTHWARK | 53 | 11 | 2.605 | N | 2 | 5 | 53.879 | E | 49 | 21 | 04 June 2024 06:20 |  | No | Main power offline. UPS online | [21 empty] | No |  | Yes
IRS/2024/4577/PON10 | Completed | SPIRIT ENERGY LIMITED | DPPA | NORTH MORECAMBE | 53 | 58 | 35 | N | 3 | 40 | 21 | W | 110 | 2 | 07 June 2024 13:30 |  | No | 82A (1) | [21 empty] | No |  | Yes
IRS/2024/4600/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Calder | CALDER | 53 | 48 | 26 | N | 3 | 39 | 48 | W | 110 | 07 | 11 June 2024 11:45 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 1. General, A 3. Lights |  |  |  |  | Both main and subsidiary lights |  |  |  | Yes | [5 empty] | Yes |  |  | Yes, primary only | 11 June 2024 | 11:45 | Yes |  | Yes | Primary Power Supply
IRS/2024/4612/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Calder | CALDER | 53 | 48 | 26 | N | 3 | 39 | 48 | W | 110 | 07 | 16 June 2024 00:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs | Yes | [16 empty] | No |  |  | Yes |  | Yes | Fog Signals
IRS/2024/4629/PON10 | Completed | SPIRIT ENERGY NEDERLAND B.V., SPIRIT ENERGY NEDERLAND B.V. | Grove Wellhead Platform | MARKHAM | 53 | 42 | 59 | N | 2 | 51 | 18 | E | 49 | 10 | 18 June 2024 17:05 |  | No | [22 empty] | Yes |  | Yes | Primary Power Supply
IRS/2024/4633/PON10 | Completed | PERENCO UK LIMITED | West Sole WB Platform | WEST SOLE | 53 | 43 | 9 | N | 1 | 7 | 8 | E | 48 | 06 | 18 June 2024 11:50 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4634/PON10 | Completed | PERENCO UK LIMITED | Waveney Platform | WAVENEY | 53 | 21 | 11 | N | 1 | 18 | 15 | E | 48 | 17 | 20 June 2024 16:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4642/PON10 | Completed | PERENCO UK LIMITED | West Sole WB Platform | WEST SOLE | 53 | 43 | 9 | N | 1 | 7 | 8 | E | 48 | 06 | 23 June 2024 16:50 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4645/PON10 | Completed | SPIRIT ENERGY NEDERLAND B.V., SPIRIT ENERGY NEDERLAND B.V. | Grove Wellhead Platform | MARKHAM | 53 | 42 | 59 | N | 2 | 51 | 18 | E | 49 | 10 | 23 June 2024 18:00 |  | No | [22 empty] | Yes |  | Yes | Main Lights
IRS/2024/4657/PON10 | Completed | PERENCO UK LIMITED | Leman CD Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 1 | 35 | N | 2 | 15 | 24 | E | 49 | 27 | 27 June 2024 07:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 27 June 2024 | 07:00 | Yes |  | Yes | Main Lights, Primary Power Supply
IRS/2024/4659/PON10 | Completed | PERENCO UK LIMITED | Excalibur A Platform | EXCALIBUR | 53 | 27 | 54 | N | 1 | 20 | 40 | E | 48 | 17 | 27 June 2024 20:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 1. General, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4660/PON10 | Completed | PERENCO UK LIMITED | Waveney Platform | WAVENEY | 53 | 21 | 11 | N | 1 | 18 | 15 | E | 48 | 17 | 27 June 2024 23:10 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4662/PON10 | In review | SHELL U.K. LIMITED | Leman G Platform [SHELL] | LEMAN [SHELL][pt. of LEMAN] | 53 | 7 | 2 | N | 2 | 6 | 11 | E | 49 | 26 | 29 June 2024 00:10 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4694/PON10 | Completed | PERENCO UK LIMITED | 27H | LEMAN [PERENCO][pt. of LEMAN] | 53 | 0 | 17 | N | 2 | 12 | 54 | E | 49 | 27 | 05 July 2024 09:15 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4712/PON10 | In review | BP EXPLORATION OPERATING COMPANY LIMITED | Clair Ridge Platform | CLAIR | 60 | 44 | 11 | N | 2 | 29 | 39 | W | 206 | 08 | 10 July 2024 11:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4715/PON10 | Completed | ITHACA ENERGY (UK) LIMITED | Captain FPSO | CAPTAIN | 58 | 18 | 20 | N | 1 | 44 | 35 | W | 13 | 22 | 12 July 2024 05:20 |  | No | [22 empty] | Yes |  | Yes | Main Lights
IRS/2024/4718/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 52/5 A Platform | HEWETT | 52 | 59 | 58 | N | 1 | 50 | 50 | E | 52 | 5 | 13 July 2024 09:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4733/PON10 | Completed | SHELL U.K. LIMITED | Caravel QR | CARAVEL | 53 | 25 | 47.9 | N | 2 | 53 | 56.2 | E | 49 | 20 | 14 July 2024 13:20 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 10. Consent non-compliance, 2. Description of Works, 3. Location of Works, 4. Commencement of Works, 5. During the Works, 6. Cessation of Works, 7. Inspections, 8. Consent review, 9. Consent variation, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Secondary Lights
IRS/2024/4738/PON10 | Completed | TAQA BRATANI LIMITED | Tern Platform | TERN | 61 | 16 | 33 | N | 0 | 55 | 10 | E | 210 | 25 | 15 July 2024 16:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | [6 empty] | Yes | Yes |  |  |  |  | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4740/PON10 | Completed | PERENCO UK LIMITED | Leman 27F | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 26 | N | 2 | 18 | 53 | E | 49 | 27 | 15 July 2024 17:52 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Main Lights
IRS/2024/4741/PON10 | Completed | PERENCO UK LIMITED | Leman 27G | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 14 | N | 2 | 22 | 53 | E | 49 | 27 | 16 July 2024 05:31 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4749/PON10 | Completed | TAQA BRATANI LIMITED | Harding Platform | HARDING | 59 | 16 | 46 | N | 1 | 30 | 58 | E | 9 | 23 | 17 July 2024 13:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 17 July 2024 | 13:30 | Yes |  | Yes | Main Lights
IRS/2024/4752/PON10 | In review | SPIRIT ENERGY NORTH SEA LIMITED | Chiswick Platform | GMA | 53 | 56 | 23 | N | 2 | 44 | 49 | E | 49 | 4 | 18 July 2024 07:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 1. Consent Validity | [20 empty] | No
IRS/2024/4763/PON10 | Completed | SPIRIT ENERGY RESOURCES LIMITED | Grove Wellhead Platform | GROVE | 53 | 43 | 0 | N | 2 | 51 | 18 | E | 49 | 10 | 20 July 2024 13:25 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4765/PON10 | Completed | PERENCO UK LIMITED | Ravenspurn South A Platform | CLEETON | 54 | 1 | 46 | N | 0 | 57 | 59 | E | 42 | 29 | 20 July 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 2. Description of Works, 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 20 July 2024 | 15:00 | Yes |  | Yes | Main Lights
IRS/2024/4774/PON10 | Completed | PERENCO UK LIMITED | 27G | LEMAN [PERENCO][pt. of LEMAN] | 53 | 2 | 14 | N | 2 | 22 | 53 | E | 49 | 27 | 23 July 2024 14:07 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4783/PON10 | Completed | INEOS UK SNS LIMITED | Clipper South | CLIPPER SOUTH | 53 | 24 | 16 | N | 1 | 47 | 5 | E | 48 | 19 | 24 July 2024 21:54 | Consent Condition and Marking Schedule Condition | Yes |  | 6. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  | Yes |  | No |  |  | Yes |  | Yes | Secondary Lights
IRS/2024/4784/PON10 | Completed | PERENCO UK LIMITED | Inde D Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 18 | 8 | N | 2 | 30 | 0 | E | 49 | 23 | 25 July 2024 12:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4812/PON10 | In review | SHELL U.K. LIMITED | golf | Leman | 53 | 7 | 2 | N | 2 | 6 | 11 | E | 49 | 26 | 02 August 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs | [20 empty] | No
IRS/2024/4815/PON10 | Completed | BP EXPLORATION OPERATING COMPANY LIMITED | Clair Phase 1 Platform | CLAIR | 60 | 41 | 30 | N | 2 | 32 | 40 | W | 206 | 8 | 25 July 2024 23:16 |  | No | 82A (1) | [21 empty] | No |  | Yes
IRS/2024/4832/PON10 | Completed | PERENCO UK LIMITED | Leman ED Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 39 | N | 2 | 12 | 39 | E | 49 | 27 | 05 August 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 05 August 2024 | 15:00 | Yes |  | Yes | Primary Power Supply
IRS/2024/4833/PON10 | Completed | PERENCO UK LIMITED | 30A | DAVY | 53 | 0 | 18 | N | 2 | 53 | 46 | E | 49 | 30 | 05 August 2024 16:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4845/PON10 | Completed | REPSOL RESOURCES UK LIMITED | Montrose A Platform | MONTROSE | 57 | 26 | 59.6 | N | 1 | 23 | 12.5 | E | 22 | 17 | 04 August 2024 08:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [17 empty] | No |  |  | Yes |  | Yes | AIS transponder failure
IRS/2024/4846/PON10 | Completed | ITHACA ENERGY (UK) LIMITED | Captain WPP'A' | CAPTAIN | 58 | 17 | 57.099 | N | 1 | 46 | 40.8 | E | 13 | 22 | 09 August 2024 18:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 2. Description of Works, 5. During the Works, A 3. Lights |  |  |  |  | Both main and subsidiary lights |  |  |  | Yes | [5 empty] | Yes |  |  | No |  |  | Yes |  | Yes | Secondary Power Supply
IRS/2024/4847/PON10 | Completed | TAQA BRATANI LIMITED | Brae East Platform | EAST BRAE | 58 | 52 | 34.183 | N | 1 | 31 | 37.421 | E | 16 | 3 | 10 August 2024 00:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 10. Consent non-compliance, 2. Description of Works, 3. Location of Works, 4. Commencement of Works, 5. During the Works, 6. Cessation of Works, 7. Inspections, 8. Consent review, 9. Consent variation, A 3. Lights |  |  |  |  | Both main and subsidiary lights | Yes | [10 empty] | Yes | No |  |  | Yes |  | Yes | Main Lights, Secondary Lights
IRS/2024/4866/PON10 | Completed | PERENCO UK LIMITED | West Sole WB Platform | WEST SOLE | 53 | 43 | 9 | N | 1 | 7 | 8 | E | 48 | 6 | 13 August 2024 19:56 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4868/PON10 | In review | SHELL U.K. LIMITED | Penguins FPSO | PENGUIN WEST | 61 | 35 | 1 | N | 1 | 32 | 54 | E | 211 | 13 | 13 August 2024 09:15 | Consent Condition excluding Marking Schedule Condition | Yes |  | 5. During the Works | [20 empty] | No
IRS/2024/4876/PON10 | In review | ENI UK LIMITED | Lennox Platform | LENNOX | 53 | 37 | 52 | N | 3 | 10 | 35 | W | 110 | 15 | 16 August 2024 18:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4886/PON10 | In review | ODE ASSET MANAGEMENT LIMITED | Southwark Platform | SOUTHWARK | 53 | 11 | 2.605 | N | 2 | 5 | 53.879 | E | 49 | 21 | 12 August 2024 13:54 |  | No | [22 empty] | No
IRS/2024/4889/PON10 | In review | ITHACA ENERGY (UK) LIMITED | Stella FPF-1 | STELLA | 56 | 46 | 50 | N | 2 | 6 | 32 | E | 30 | 6 | 20 August 2024 09:30 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4893/PON10 | Completed | PERENCO UK LIMITED | Lancelot Platform | LANCELOT | 53 | 24 | 36.1 | N | 1 | 22 | 31.1 | E | 48 | 17 | 20 August 2024 16:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4896/PON10 | In review | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | N | 1 | 50 | 42.26 | E | 22 | 5 | 18 August 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4900/PON10 | Completed | PERENCO UK LIMITED | Lancelot Platform | LANCELOT | 53 | 24 | 36.1 | N | 1 | 22 | 31.1 | E | 48 | 17 | 22 August 2024 13:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/4904/PON10 | In review | SHELL U.K. LIMITED | Nelson Platform | NELSON | 57 | 39 | 44 | N | 1 | 8 | 39 | E | 22 | 11 | 23 August 2024 14:00 | Consent Condition excluding Marking Schedule Condition | Yes |  | 10. Consent non-compliance | [20 empty] | No
IRS/2024/4912/PON10 | Completed | SPIRIT ENERGY PRODUCTION UK LIMITED | Calder | CALDER | 53 | 48 | 26.82 | N | 3 | 39 | 48.01 | W | 110 | 7 | 24 August 2024 00:01 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Subsidiary Lights
IRS/2024/4939/PON10 | In review | SHELL U.K. LIMITED | Golf Platform | LEMAN [SHELL][pt. of LEMAN] | 53 | 7 | 2 | N | 2 | 6 | 11 | E | 49 | 26 | 01 September 2024 23:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [20 empty] | No
IRS/2024/4941/PON10 | In review | REPSOL RESOURCES UK LIMITED | Saltire A Platform | SALTIRE | 58 | 25 | 1 | N | 0 | 20 | 3 | E | 15 | 17 | 01 September 2024 21:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [20 empty] | No
IRS/2024/4959/PON10 | In review | TOTALENERGIES E&P UK LIMITED | Valaris Stavanger | ELGIN | 57 | 0 | 44 | N | 1 | 50 | 24 | E | 22 | 30 | 04 September 2024 15:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/4961/PON10 | In review | SHELL U.K. LIMITED | Leman F Platform [SHELL] | LEMAN [SHELL][pt. of LEMAN] | 53 | 6 | 28 | N | 2 | 3 | 56 | E | 49 | 26 | 04 September 2024 20:45 | Consent Condition excluding Marking Schedule Condition | Yes |  | 5. During the Works | [20 empty] | No
IRS/2024/4968/PON10 | In review | SHELL U.K. LIMITED | Clipper PW Platform | CLIPPER NORTH | 53 | 27 | 33 | N | 1 | 43 | 56 | E | 48 | 19 | 06 September 2024 16:30 | Consent Condition and Marking Schedule Condition | Yes |  | 11. Consent non-compliance, A 3. Lights | [20 empty] | No
IRS/2024/4986/PON10 | Completed | ENQUEST HEATHER LIMITED | Thistle A Platform | THISTLE | 61 | 21 | 46.93 | N | 1 | 34 | 47.14 | E | 211 | 18 | 10 September 2024 16:15 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/4992/PON10 | Completed | CHRYSAOR NORTH SEA LIMITED | Armada Platform | FLEMING | 57 | 57 | 26.76 | N | 1 | 50 | 42.26 | E | 22 | 5 | 11 September 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only |  |  | Yes | [9 empty] | No |  |  | Yes |  | Yes | Main Lights, Operations during the Works, Subsidiary Lights
IRS/2024/4997/PON10 | In review | ITHACA ENERGY (UK) LIMITED | Captain WPP'A' | CAPTAIN | 58 | 17 | 57.096 | N | 1 | 46 | 40.8 | E | 13 | 22 | 12 September 2024 17:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/5001/PON10 | Completed | INEOS UK SNS LIMITED | Breagh Platform | BREAGH | 54 | 35 | 44 | N | 0 | 26 | 1 | E | 42 | 13 | 13 September 2024 05:37 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | No | Primary Power Supply
IRS/2024/5016/PON10 | Completed | ENQUEST HEATHER LIMITED | Heather A Platform | HEATHER | 60 | 57 | 13 | N | 0 | 56 | 22 | E | 2 | 5 | 15 September 2024 03:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/5026/PON10 | In review | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 B Platform | HEWETT | 53 | 3 | 16.8 | N | 1 | 41 | 9.9 | E | 48 | 29 | 17 September 2024 11:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs | [20 empty] | No
IRS/2024/5028/PON10 | In review | PERENCO UK LIMITED | DAVY | DAVY | 53 | 0 | 18 | N | 2 | 53 | 46 | E | 49 | 30 | 19 September 2024 07:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/5036/PON10 | Completed | VALARIS PLC | Valaris 121 | SHEARWATER | 57 | 1 | 49 | N | 1 | 57 | 12 | E | 22 | 30 | 21 September 2024 02:00 | Consent Condition and Marking Schedule Condition | Yes |  | 1. Consent Validity, 5. During the Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | No | Subsidiary Lights
IRS/2024/5043/PON10 | In review | ENI UK LIMITED | Hamilton North Platform | HAMILTON NORTH | 53 | 38 | 46.94 | N | 3 | 28 | 41.13 | W | 110 | 13 | 22 September 2024 15:05 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/5047/PON10 | In review | PERENCO UK LIMITED | Leman ED Platform [PERENCO] | LEMAN [PERENCO][pt. of LEMAN] | 53 | 3 | 39 | N | 2 | 12 | 39 | E | 49 | 27 | 23 September 2024 02:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/5066/PON10 | Completed | APACHE NORTH SEA LIMITED | Forties FC Platform | FORTIES | 57 | 43 | 37.03 | N | 0 | 54 | 50.74 | E | 21 | 10 | 26 September 2024 19:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. Cessation of Works, A 3. Lights |  |  |  |  | Subsidiary lights only | [8 empty] | Yes |  |  |  | No |  |  | Yes |  | Yes | Subsidiary Lights
IRS/2024/5085/PON10 | Completed | PETROFAC FACILITIES MANAGEMENT LIMITED | Hewett 48/29 C Platform | HEWETT | 53 | 5 | 52 | N | 1 | 45 | 57 | E | 48 | 29 | 30 September 2024 07:45 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/5092/PON10 | Completed | PERENCO UK LIMITED | Inde D Platform (PERENCO) | INDEFATIGABLE [PERENCO] | 53 | 18 | 8 | N | 2 | 30 | 0 | E | 49 | 23 | 01 October 2024 17:30 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | Yes, primary only | 01 October 2024 | 17:30 | Yes |  | Yes | Primary Power Supply
IRS/2024/5095/PON10 | Completed | PERENCO UK LIMITED | Excalibur A Platform | EXCALIBUR | 53 | 27 | 54 | N | 1 | 20 | 40 | E | 48 | 17 | 02 October 2024 09:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 4. Fogs, A 3. Lights | [17 empty] | Yes, primary and secondary power |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/5122/PON10 | In review | SPIRIT ENERGY PRODUCTION UK LIMITED | Calder | CALDER | 53 | 48 | 26.82 | N | 3 | 39 | 48.01 | W | 110 | 2 | 05 October 2024 21:00 | Consent Condition and Marking Schedule Condition | Yes |  | 10. Consent non-compliance, 5. During the Works, A 3. Lights | [20 empty] | No
IRS/2024/5123/PON10 | Completed | PERENCO UK LIMITED | Leman 27H | LEMAN [PERENCO][pt. of LEMAN] | 53 | 0 | 17 | N | 2 | 12 | 54 | E | 49 | 27 | 06 October 2024 13:15 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/5134/PON10 | Completed | ENI UK LIMITED | Hamilton A Platform | HAMILTON | 53 | 33 | 57 | N | 3 | 27 | 16 | W | 110 | 13 | 09 October 2024 06:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/5138/PON10 | In review | ODE ASSET MANAGEMENT LIMITED | Southwark Platform | SOUTHWARK | 53 | 10 | 59.78 | N | 2 | 5 | 48.85 | E | 49 | 26 | 10 October 2024 05:40 |  | No | [22 empty] | No
IRS/2024/5141/PON10 | Completed | PERENCO UK LIMITED | Hyde Platform | HYDE | 53 | 48 | 26.53 | N | 1 | 1 | 43.3 | E | 48 | 6 | 11 October 2024 08:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 1. General | [17 empty] | Yes, primary only |  |  | Yes |  | Yes | Primary Power Supply
IRS/2024/5149/PON10 | In review | ODE ASSET MANAGEMENT LIMITED | Blythe Platform | BLYTHE | 53 | 14 | 35.31 | N | 1 | 26 | 50.55 | E | 48 | 22 | 13 October 2024 01:26 |  | No | [22 empty] | No
IRS/2024/5164/PON10 | Completed | ENI UK LIMITED | Hamilton A Platform | HAMILTON | 53 | 33 | 57 | N | 3 | 27 | 16 | W | 110 | 13 | 15 October 2024 16:46 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights
IRS/2024/5166/PON10 | Completed | ENI UK LIMITED | Douglas DW Platform | DOUGLAS | 53 | 32 | 16.94 | N | 3 | 34 | 42.29 | W | 110 | 13 | 16 October 2024 06:00 | Consent Condition and Marking Schedule Condition | Yes |  | 5. During the Works, A 3. Lights |  |  |  |  | Main lights only | Yes | [11 empty] | No |  |  | Yes |  | Yes | Main Lights